## Slide 1: Beyond Single Point Analysis
0.20
0.25
0.30
0.35
0.40
Window-to-Wall Ratio Probability Density Function (PDF)
Infiltration % Change PDF
-40
-20
20
0
40
OpenStudio and EnergyPlus enable analysis that considers uncertainty in the baseline building.
This illustrative example is built with DOE’s medium office prototype building model and two typical sources of variability.
Red lines denote “nominal” (DEER-like) model results absent variability
Notes: This is meant as an illustrative example of what how DEER could be populated with OpenStudio/EnergyPlus. No attempt was made to align the model with a California prototype.
DOE Medium Office model situated in San Francisco used as a starting point
Applied uncertainty to window-to-wall ratio and infiltration to create a family of medium office buildings that reflect that uncertainty
Lighting power reduction and ERV energy conservation measures were applied to those families to create distributions of EUI performance predictions for both measures
This is a scalable solution. Can easily apply many more sources of uncertainty to the baseline model – e.g. HVAC system types, insulation, occupancy density and schedules, etc. Easy to apply additional ECM. Easy to apply additional ECMs as well.
Note that distributions aren’t simply shifted to lower EUI ranges. The width of the distributions changes depending upon which measure is applied. This demonstrates that we can quantify the uncertainty in expected energy savings associated with specific measures, and provides guidance on determining if a measure’s savings could be deemed or should be calculated on a custom basis. These nonlinear effects will become more pronounced as additional sources of uncertainty are added in establishing the baseline family.

## Slide 2: Beyond Single Point Analysis
0.20
0.25
0.30
0.35
0.40
Window-to-Wall Ratio Probability Density Function (PDF)
Infiltration % Change PDF
-40
-20
20
0
40
Pre-1980
Baseline
PDF
555
560
565
570
EUI (MJ/m2)
Scalable use of commodity cloud computing enables rapid creation of a family of baseline buildings that includes uncertainty.
Notes: This is meant as an illustrative example of what how DEER could be populated with OpenStudio/EnergyPlus. No attempt was made to align the model with a California prototype.
DOE Medium Office model situated in San Francisco used as a starting point
Applied uncertainty to window-to-wall ratio and infiltration to create a family of medium office buildings that reflect that uncertainty
Lighting power reduction and ERV energy conservation measures were applied to those families to create distributions of EUI performance predictions for both measures
This is a scalable solution. Can easily apply many more sources of uncertainty to the baseline model – e.g. HVAC system types, insulation, occupancy density and schedules, etc. Easy to apply additional ECM. Easy to apply additional ECMs as well.
Note that distributions aren’t simply shifted to lower EUI ranges. The width of the distributions changes depending upon which measure is applied. This demonstrates that we can quantify the uncertainty in expected energy savings associated with specific measures, and provides guidance on determining if a measure’s savings could be deemed or should be calculated on a custom basis. These nonlinear effects will become more pronounced as additional sources of uncertainty are added in establishing the baseline family.

## Slide 3: Beyond Single Point Analysis
Energy Recovery Ventilation Measure
+
Solid
State Lighting Measure
+
0.20
0.25
0.30
0.35
0.40
Window-to-Wall Ratio Probability Density Function (PDF)
Infiltration % Change PDF
-40
-20
20
0
40
Pre-1980
Baseline
PDF
555
560
565
570
EUI (MJ/m2)
440
460
500
560
EUI (MJ/m2)
480
520
540
Potential analysis now includes uncertainty in estimated savings that can aid in deemed/custom determinations.
Notes: This is meant as an illustrative example of what how DEER could be populated with OpenStudio/EnergyPlus. No attempt was made to align the model with a California prototype.
DOE Medium Office model situated in San Francisco used as a starting point
Applied uncertainty to window-to-wall ratio and infiltration to create a family of medium office buildings that reflect that uncertainty
Lighting power reduction and ERV energy conservation measures were applied to those families to create distributions of EUI performance predictions for both measures
This is a scalable solution. Can easily apply many more sources of uncertainty to the baseline model – e.g. HVAC system types, insulation, occupancy density and schedules, etc. Easy to apply additional ECM. Easy to apply additional ECMs as well.
Note that distributions aren’t simply shifted to lower EUI ranges. The width of the distributions changes depending upon which measure is applied. This demonstrates that we can quantify the uncertainty in expected energy savings associated with specific measures, and provides guidance on determining if a measure’s savings could be deemed or should be calculated on a custom basis. These nonlinear effects will become more pronounced as additional sources of uncertainty are added in establishing the baseline family.

## Slide 4: Comparison Against Multiple Baselines
Pre-1980
Baseline
PDF
90.1-2004
Baseline
PDF
90.1-2010
Baseline PDF
555
560
565
570
440
460
480
339
341
342
340
EUI (MJ/m2)
Pre-1980
90.1-2004
90.1-2010
440
460
500
560
EUI (MJ/m2)
480
520
540
440
460
EUI (MJ/m2)
480
380
400
420
325
330
EUI (MJ/m2)
335
310
315
320
340
Baseline
Baseline + Energy Recovery Ventilation
Baseline + Solid State Lighting
The system also enables easy comparison of savings predictions relative to a range of baselines.
Notes: ERV savings in the 90.1-2004 case are negligible due to increased fan loads.
These losses are offset by higher fan efficiencies and improved controls in the 90.1-2010 baseline making ERV of benefit.
When measures are applied to a calibrated model, the savings relative to the building’s current conditions may be calculated with greater confidence.